Accepted Manuscript

This is an early electronic version of an as-received manuscript that has been accepted for publication in the Journal of the Serbian Chemical Society but has not yet been subjected to the editing process and publishing procedure applied by the JSCS Editorial Office.

Please cite this article as R. Piech , J. Smajdor, B. Paczosa-Bator, M. Rumin, J. Serb. Chem. Soc. (2017), doi: 10.2298/JSC160529052P

This “raw” version of the manuscript is being provided to the authors and readers for their technical service. It must be stressed that the manuscript still has to be subjected to copyediting, typesetting, English grammar and syntax corrections, professional editing and authors’ review of the galley proof before it is published in its final form. Please note that during these publishing processes, many errors may emerge which could affect the final content of the manuscript and all legal disclaimers applied according to the policies of the Journal.

Fast and sensitive metronidazole determination by means of voltammetry on renewable amalgam silver based electrode without the preconcentration step

ROBERT PIECH*, JOANNA SMAJDOR, BEATA PACZOSA-BATOR and 
MARTYNA RUMIN

Faculty of Materials Science and Ceramics, AGH-UST University of Science and Technology, 30-059 Kraków, av. Mickiewicza 30, Poland

(Received 29 June 2016, revised 9 May, accepted 12 May 2017)

Abstract: Application of cyclic renewable amalgam silver based electrode (Hg(Ag)FE) for sensitive metronidazole detection by differential pulse voltammetry (DPV) is described. The unique properties of the Hg(Ag)FE such as relative large surface area and its fast and very simple renewal were fully utilized for sensitive measurements. Compared with classical hanging mercury drop electrode (HMDE), renewable Hg(Ag)FE significantly increases the reduction peak current of metronidazole because of its large surface area. The effects of various factors for the metronidazole determination such as: pulse height and width, step potential, surface area of the working electrode, and basic electrolyte composition are optimized. The obtained calibration graph is linear from 0.1 µM (17 μg L(1) to 2 µM (342 μg L(1) with correlation coefficient 0.999. For the Hg(Ag)FE with the surface area of 10.1 mm2 the limit of detection (LOD) is 20 nM (3.4 μg L(1). The repeatability of the method at a concentration of the analyte 0.5 µM (5.6 μg L(1), expressed as relative standard deviation (RSD) is 2.1 % (n=7). The proposed method was successfully applied and confirmed by studying recovery of metronidazole from spiked samples.

Keywords: metronidazole; drugs; amalgam film electrodes; voltammetry

INTRODUCTION

One of the most important nitroimidazole compounds, Metronidazole (1-(2-hydroxyethyl)-2-methyl-5-nitroimidazole) (Fig.1.) is one of the most important prodrugs, with a wide spectrum of action.1–3 Due to its high activity against the anaerobic protozoa, metronidazole (MNZ) is commonly used for protozoan infection treatment since 1960.4 According to the later studies, it was proven that metronidazole exhibits not only an anti-protozoal action, but it is also active against a variety of anaerobic pathogens, including both gram-negative and gram-positive bacteria. It is also effective for treating infections caused by anaerobic organisms such as Clostridium and amebiasis or fungus infection.5 Considering wide range of metronidazole activity, it is extensively used in the treatment of diseases such as pelvic inflammatory disease, endocarditis, bacterial vaginosis, rosacea, lung abscess, periodontitis, and trichomoniasis. It is also often exploited either alone or with other antibiotics to eradicate Helicobacter pylori bacteria, and to prevent infection after recovering from surgery.6–8 MNZ may be taken orally, intravenously or transdermal and it is one of the most important medication according to the World Health Organization.9

Considering numerous applications of MNZ as a medication, new method of its determination has been developed. In order to achieve lower limits of detection, analytical methods such as spectrophotometry10–14, chromatography15–19 or mass spectrometry20–22 were used. Among the proposed ways of obtaining high sensitivity of MNZ, wide variety of voltammetric techniques have been proposed. Not only classical mercury electrode was involved in researches23, but also lots of solid state sensors such as boron doped diamond film electrode24,25, gold26,27 and carbon paste electrode28,29 or glassy carbon electrodes modified with carbon nanotubes30,31, conducting polymers32,33 or other nanomaterials.34–36

The most popular working electrodes in voltammetry, according to its almost ideal surface parameters, are hanging drop mercury electrodes. Repeatability and reproducibility obtained with these electrodes is better in comparison with solid electrodes and limits of detections are lower. However, due to its toxicity and strict limits of mercury usage, new constructions of classical electrodes are proposed. Among them are film electrodes with renewable surface, based on different metals, e.g. bismuth, lead, copper or mercury37. This type of electrodes was successfully applied for highly sensitive determination of elements38–42, organic and inorganic compounds43–45 or pharmaceuticals.46–49 Another solution is to use a solid silver amalgam for voltammetric electrodes. Their fabrication, properties, characteristic and applications were widely studied by Barek and coworkers.50–57

In this work differential pulse voltammetry (DPV) is applied for the determination of low concentration of MNZ using silver based amalgam electrode (Hg(Ag)FE). The validation and recovery of the proposed method was done using spiked samples. Potential interferences from selected cations, organic compounds, and surface-active substances were checked. New procedure was successfully applied for MNZ sensitive determination in pharmaceutical formulations.

EXPERIMENTAL

Measuring apparatus and software

A multifunctional electrochemical analyzer M161 with the electrode stand M164 (both MTM-ANKO, Poland) were used for all voltammetric measurements. The classical three-electrode cell consisting of a cylindrical silver based mercury (amalgam) film electrode (Hg(Ag)FE)37, refreshed before each measurement and with a surface area of 1–12 mm2, as the working electrode, a double junction reference electrode Ag/AgCl/KCl (3M) and a platinum wire as an auxiliary electrode. The results obtained with the amalgam film electrode were then compared with corresponding values obtained using the hanging mercury drop electrode M163 (MTM-ANKO). pH measurements were performed with laboratory pH-meter (n-512, Elpo, Poland). Magnetic Teflon-coated bar (Aldrich) was used for stirring the measured solution (with approximately 500 r.p.m.). All experiments were carried out at laboratory temperature.

Chemicals and glassware

All reagents used in the work were of analytical grade. Acetic acid, sodium acetate (Suprapur®) and mercury GR for polarography were obtained from Merck. Standard stock solution of MNZ (0.01 M) was prepared by dissolving crystalline C6H9N3O3 (Aldrich) in water and stored in refrigerator at 4 oC. Solutions with lower MNZ concentrations were made daily by appropriate dilution of the stock solution. The silver base for the electrode was prepared from polycrystalline silver wire with a diameter of 0.5 mm, and of 99.99 % purity (Goodfellow Science Park, England). Prior to use, glassware was cleaned by immersion in a 1:10 aqueous solution of HNO3, followed by copious rinsing in distilled water.

Standard procedure of measurements

Quantitative measurements of MNZ were performed using differential pulse voltammetry (DPV) and the standard addition procedure. The procedure of refreshing the amalgam film Hg(Ag)FE electrode was carried out before each voltammogram registration. The Hg(Ag)FE electrode renovated in this way was used to determine MNZ in the base electrolyte: 0.1 M acetate buffer (pH 4.4), total volume 10 ml contained in a voltammetric cell. The DPV procedure was performed with the following steps in a continued sequence:

(a) Conditioning of the Hg(Ag)FE: EIcond = (1100 mV, tcond = 5 s (removal of oxides from electrode, lower background current).

(b) Rest period 5 s.

(c) Recording of voltammogram in the potential range from 25 to (950 mV.

Conditions for the DP mode were as follows: pulse amplitude (dE), 50 mV; potential step (Es), 4 mV; time step potential (tw, tp), 20 ms (10 ms waiting + 10 ms current measuring time). Measured solutions were deaerated by 5 min bubbling with argon. The determinations were performed using the standard additions method (based on three additions).

Sample preparation

Pharmaceutical products and urine

For DPV determination of MNZ in tablet, 3 tablets obtained from pharmacies (Metronidazol Polpharma, 250 mg MNZ per tablet) were grinded into a fine powder with a mortar and pestle. The powder (25 mg) was transferred through a funnel into a 10 mL volumetric flask by washing with water and filling up to the mark. The obtained solution was sonicated for 10 min. Next 500 µL of the sample was pipetted into voltammetric cell containing 2 mL (0.5 M) of acetate buffer (pH 4.4.) and 7.5 mL of water.

In the case of metronidazole for injection (Metronidazole Fresenius, 500 mg per 100 mL) the whole drug (100 ml) was diluted in 1000 mL volumetric flask. Next 250 µL of the sample was pipetted into voltammetric cell containing 2 mL (0.5 M) of acetate buffer (pH 4.4) and 7.75 mL of water.

In the case of MNZ determination in urine, the urine sample was centrifuged at 5000 rpm for 10 min with addition of methanol (10 % v/v). Next, the solution was filtrated and the clear supernatant was transferred into a 10 mL volumetric flask. Next, 100 µL of the fresh sample of the urine from volunteer was added directly into voltammetric cell with supporting electrolyte (2 mL (0.5 M) acetate buffer (pH 4.4), 7.9 mL water - total volume 10 mL).

RESULTS AND DISCUSSION

Metronidazole on renewable amalgam film electrode Hg(Ag)FE

Differential pulse voltammetry is appropriate for measuring traces of metronidazole. This is due to its high sensitivity, relatively low background current, good reproducibility, and linearity. The use of mercury as the working electrode material should be greatly reduced because of its high toxicity, especially in the case of laboratory analysis. It is possible to significantly reduce the use of mercury from the analytical procedure of MNZ determination by means of Hg(Ag)FE. Typical signals obtained for Hg(Ag)FE as compared to hanging mercury drop electrode (HMDE) for 5 µM MNZ are presented in Figure 1.

MNZ peak current is about 20% higher for the Hg(Ag)FE vs. the HMDE electrode (for similar geometrical sizes of surfaces of working electrodes). The measured peak potentials were: (283 mV and (252 mV for Hg(Ag)FE and HMDE, respectively. The MNZ peak half width was 88 mV for Hg(Ag)FE and 84 mV for HMDE electrode. The achieved reproducibility at (Hg(Ag)FE) for n=7 and 0.5 µM of metronidazole was 2.1 %. The surfaces of solid electrodes are frequently much larger than those of mercury drop electrodes. When using the Hg(Ag)FE electrode the surface of the working electrode may be simply changed in a wide range. For the surface area of 2.1 mm2, the MNZ peak current (5 µM) was 0.13 µA and grew with increasing electrode area. For the surface area of 12.1 mm2, the peak current was 0.73 µA (Fig. 2).

The parameters of the linear dependence of the peak current on the surface of working electrode for 5 µM of metronidazole are: slope, 0.0603 ± 0.0005 µA mm(2, intercept, 0.0014 ± 0.0039 µA, and correlation coefficient r = 0.9998. For further study, the 10.1 mm2 surface area was used.

Fig. 1. Juxtaposition of DP voltammograms measured for 5 µM MNZ in 0.1 M acetate buffer (pH 4.4) for HMDE and Hg(Ag)FE electrode. The electrode areas were 10.1 mm2 for the (Hg(Ag)FE) and 1.7 mm2 for the HMDE, respectively. DP instrumental parameters:
 dE = 50 mV, Es = 4 mV, tw and tp = 10 ms (Inset – Chemical structure of MNZ).

Fig. 2. DP voltammograms measured for Hg(Ag)FE electrode surface area (S): 
2.1, 4.1, 6.1, 8.1, 10.1 and 12.1 mm2 for 5 µM MNZ in 0.1 M acetate buffer (pH 4.4). 
All other conditions as in Fig. 1.

Influence of the scan rate on MNZ peak current and peak potential

The influence of the scan rate (v) on the peak current and the peak potential of MNZ at Hg(Ag)FE was investigated using cyclic voltammetry in the range from 10 mV s(1 to 500 mV s(1 (Fig. 3 and Fig. 4). Electrochemical reduction of MNZ is an irreversible process due to the absence of oxidation peak.

Fig. 3. Cyclic voltammograms measured for 10 µM MNZ on the Hg(Ag)FE electrode in 0.1 M acetate buffer (pH 4.4). Scan rate in the range from 10 to 500 mV s-1 
(Inset - dependence of the MNZ peak current on square root of the scan rate).

Fig. 4. Dependence of the MNZ CV peak potential on natural logarithm of the scan rate measured in the range from 10 to 500 mV s-1 for 10 µM MNZ in 0.1 M acetate buffer (pH 4.4).

The peak current vs. square root of the scan rate gave a straight line. The found linear regression equation is:

Ip / µA = –0.108 v0.5 + 0.054,   r = 0.999	(1)

This suggests a diffusion-controlled reduction process at the Hg(Ag)FE.

The cathodic peak potential was shifted in the negative direction with the increasing scan rate. The peak potential vs. ln scan rate gives a straight line. The obtained linear regression equation is:

Ek / mV = –12.3 ln v  –214,   r = 0.998	(2)

Based on the theory for an irreversible electrode reaction from the slope of Ek vs. ln v, αn = 1.04 could be obtain.

The reduction peak of MNZ requires a total of four electrons and four protons reduction of nitro group to the corresponding hydroxylamine according to the known and described mechanism in ref.58, 59

Influence of pH on MNZ peak

In order to improve the MNZ peak current signal, the effect of pH of the supporting electrolyte was investigated. DPV voltammograms of the MNZ depends on pH (see Fig. 5).

Fig. 5. Dependence of the DPV peak current at Hg(Ag)FE on pH in the range from 3.4 to 7.2 for 5 µM MNZ in 0.1 M acetate buffer and obtained DP voltammograms. All other conditions are as in Fig.1.

The optimal pH was in the range from 4 to 5.2 (with the peak current reaching values about 0.65 (A). Higher pH than 5.2 caused a decrease in the peak current. The pH also has an influence on the peak potential, which changed to positive values with decreasing pH. The found linear regression equation is:

Ep = –77.9 pH + 59 mV,   r = 0.996	(3)

and indicates that protons are involved in the electrode process and protonation takes place before first electron uptake60,61

For further study, the pH of 4.4 was applied.

Influence of DPV parameters on DPV peak of metronidazole

The significant factors of the DPV technique are pulse height (dE), potential step amplitude (Es), pulse width - waiting time (tw) and sampling time (ts). Thus, these parameters were studied. To optimize the conditions for MNZ measurements, the following instrumental parameters were methodically varied: dE in the range 5(100 mV (both positive and negative mode), Es in the range 1(6 mV, tw and tp in the range 10(100 ms, respectively.

The best results were obtained for an amplitude of 50 mV (the peak current was approx. 0.65 µA for 5 µM MNZ). Higher pulse amplitude (>50 mV) caused minor growth of the peak current. In further studies, the pulse height of 50 mV was applied.

Changes of the step potential influence peak current. For a step potential equal to 1 mV the peak current was 0.23 µA, and for a step potential of 6 mV the peak current was 0.7 µA. The step potential of 5 mV was applied in further studies.

The waiting time and probing time were varied in the range from 10 ms to 100 ms. The best results were obtained for tw and tp of 10 ms, respectively, and these values were used for further work.

Interferences

The DPV signals are strongly affected by the type and concentration of all the components of the measured electrolyte. The examined ions such as: Ca(II), Mg(II) in a 1000-fold excess, Fe(III), Mn(II), Zn(II) in a 10-fold excess,  and Cu(II), Pb(II), Cd(II) in the same concentrations as MNZ did not interfere. Organic compounds such as: citric acid, ascorbic acid in a 10-fold excess and glucose 25 mg L-1 did not interfere.

The surface-active compounds are generally a source of high interferences in voltammetric methods. A non-ionic surface-active compound (Triton X-100) was studied in this respect. For 0.5 mg L(1 of Triton X-100 concentration, no suppression of the signal was observed. Higher concentration of Triton X-100 suppressed the signal e.g. for 1 mg L(1 of Triton X-100 by approx. 5 %, for 10 mg L(1 of Triton X-100 by 60 %, and for 20 mg L(1 of Triton X-100 by 75 %.

Analytical performance

The DPV calibration curves and voltammograms for MNZ are presented in Figure 6.

Fig. 6. (A) DP voltammograms of MNZ at Hg(Ag)FE and (B) calibration curve in the range of 0.1 to 5 µM in 0.1 M acetate buffer (pH 4.4). All other conditions are as in Fig.1.

For the electrode surface area of 10.1 mm2 the obtained detection limit (calculated as 3() in acetate buffer (pH 4.4), is 20 nM and the linearity is up to 2 µM. The slope for regression line is (0.192 ± 0.001) µA µM(1, the intercept is ((0.007 ± 0.002) µA: and the correlation coefficient is 0.999. Nonlinearity for the concentration of MNZ above 2 µM may be due to the saturation of the electrode surface with the MNZ. Precision and recovery were determined using three different synthetic samples (which contained: K, Ca, Mg, Cl ions) spiked by 0.1; 0.25 and 0.55 µM of MNZ (Table I).

Table I. Recovery and precision of the determination of trace MNZ

| Amount, µM | Determined, µM | Recovery, % | RSD, % |
| --- | --- | --- | --- |
| 0.10 | 0.096 | 96 | 3.6 |
| 0.25 | 0.255 | 102 | 3.4 |
| 0.55 | 0.555 | 101 | 2.9 |

To validate the method the urine, tablets and metronidazole injection were investigated.

The samples, spiked with MNZ were analyzed according to the presented procedure using the renewable mercury film electrode. Determinations of MNZ were performed using the standard addition method (three additions of MNZ). Results from MNZ determination are presented in Table II.

Table II. Results of MNZ determination in the urine, tablet and MNZ for injection

| MNZ amount | MNZ determined ( s (recovery, %) |
| --- | --- |
|  | Urine | Tableta | MNZ for injectionb, |
| 0 | 0 | 245 ( 9 mg | 492 ( 14 mg |
| 0.5 µM | 0.46 ( 0.05 (93) µM | - | - |
| 1.5 µM | 1.44 ( 0.11 (96) µM | - | - |
| 250 mg | - | 510 ( 13 (103) mg | 749 ( 23 (101) mg |

aproduct declared, 250 mg per tablet; bproduct declared, 500 mg per 100 ml

The recovery of MNZ ranged from 93(103 %. The analytical usefulness of the studied method for the determination of MNZ in urine and drug samples was confirmed.

CONCLUSIONS

The work demonstrates the Hg(Ag)FE as a suitable electrode for DP voltammetric determination of metronidazole. The studied DPV method is very rapid and allows to determine MNZ at low concentrations, with the detection limit of 20 nM (3.42 µg·L(1) for a surface area of 10.1 mm2. The reproducibility of the studied method is very good, giving RSD 2.1 % (with each measurement performed at a renewed surface of the working electrode). Satisfactory recovery (93–103 %) shows that the proposed method can be used for the routine determination of MNZ in real samples (urine, tablets and drugs for injection). Linear range and detection limit obtained at various electrodes are presented in Table III.

Table III. Voltammetric determination of MNZ at various electrodes

| Electrode | Method | Detection limit | Literature |
| --- | --- | --- | --- |
| p-AgSA-CE | DCV | 2 µM (LoQ) | 57 |
| (b-CD-GNPs/poly(l-cys)/GCE) | LSSV | 14 nM | 60 |
| GCE/SWCNT | Amperometry | 63 nM | 61 |
| GCE/DNA | DPSV | 1 µM | 62 |
| MFE | DPV | 4.76 | 62 |
| CPEa-CD | DPV | 0.28 µM | 63 |
| Hg(Ag)FE | DPV | 20 nM | This work |

(AgSA-CE) silver solid amalgam composite electrode

(b-CD-GNPs/poly(l-cys)/GCE) b-Cyclodextrin-Functionalized gold nanoparticles/poly(l-cysteine) modified glassy carbon electrode

(GCE/SWCNT) Glassy carbon electrode modified with single-walled carbon nanotubes

(GCE/DNA) glassy carbon electrode immobilised with DNA

(MFE) mercury film electrode

(CPEa-CD) carbon paste electrode modified α-Cyclodextrin

Acknowledgments: This work was supported by the Polish National Science Centre (Project No. 2015/19/B/ST5/01380).

извод

Брза и осетљива метода за одређивање метронидазола на обновљивој електроди на бази амалгама сребра без преконцентрације

ROBERT PIECH, JOANNA SMAJDOR, BEATA PACZOSA-BATOR и MARTYNA RUMIN

Faculty of Materials Science and Ceramics, AGH-UST University of Science and Technology, 
30-059 Kraków, av. Mickiewicza 30, Poland

Описана је примена цикличне обновљиве електроде на бази амалгама сребра  (Hg(Ag)FE) за осетљиву детекцију метронидазола помоћу диференцијалнo пулсне волтаметрије (DPV). Јединствена својства електроде Hg(Ag)FE, као што су релативно велика површина и брза и веома једноставна обновљивост су искоришћене за осетљиво мерење. У поређењу са класичном HMDE, обновљива Hg(Ag)FE значајно повећава струју пика редукције  метронидазола због велике површине. Оптимизовани су различити фактори за одређивање метронидазола ко што су: висина и ширина пулса, трајанње степена потенцијала, површина радне електроде и састав основног елецтролита. Добијена калибрациона права је линеарна од 0,1 µM (17 μg L-1) до 2 µM (342 μg L-1) са корелационим коефицијентом од 0,999. За Hg(Ag)FE површине 10,1 mm2 LOD износи 20 nM (3,4 μg L-1). Поновљивост методе, са концентрацијом аналита од 0,5 µM (5,6 μg L-1), је изражена као RSD и износи 2,1 % (n=7). Предложена метода је успешно примењена и потврђена одређивањем процента приноса метронидазола у спајкованим узорцима.

(Примљено 29. јуна 2016, ревидирано 9. маја, прихваћено 12. маја 2017)

REFERENCES

J. C. Mucklow, Martindale: The Complete Drug Reference, Pharmaceutical Press, London, Great Britain, 2009

M. E. Mutschler, G. Geisslinger, H. K. Kroemer, P. Ruth, M. Schaefer-Korting, Farmakologia i toksykologia, MedPharm, Wrocław, Poland, 2010

L. L. Brunton, J. S. Lazo, K. L. Parker, Goodman and Gilman’s The Pharmacological Basis of Therapeutics, New York, USA, 2005

P. Durel, V. Roiron, A. Siboulet, L. J. Borel, Brit. J. vener. Dis. 36 (1960) 21

C. D. Freeman, N. E. Klutman, K. C. Lamp, Drugs 54 (1997) 679

N. Van Eyk, J. van Schalkwyk, J. Obstet. Gynaecol. Canada 34 (2012) 382

M. O. Robbie, R. L. Sweet, Am. J. Obstet. Gynecol. 145 (1983) 865

J. D. Smilack, W. R. Wilson, F. R. Cockerill, Mayo. Clin. Proc. 66 (1991) 1270

World Health Organization, WHO Model list of essential medicines, 18th list (2013)

P. Thulasamma, P. Venkateswarlu, Rasayan J. Chem. 2 (2009) 865

M. R. El-Ghobashy, N. F. Abo-Talib, J. Adv. Res. 1  (2010) 323

K. Siddappa, M. Mallikarjun, P. T. Reddy, M. Tambe, Eclet. Quim. 33 (2008) 41

W. H. Ibrahim, W. A. Bashir, Raf. J. Sci. 23 (2012) 78

T. Saffaj, M. Charrouf, A. Abourriche, Y. Abboud, A. Bennamara, M. Berrada, Farmaco 59 (2004) 843

A. Menelaou,  A. A. Somogyi, M. L. Barclay, F. Bochner, J. Chromatogr. B. Biomed. Sci. Appl. 731 (1999) 261

A. Marques, Cancer 146 (1978) 163

P. K. F. Yeung, R. Little, Y. Jiang, S. J. Buckley, P. T. Pollak, H. Kapoor, S. J. O. Veldhuyzen Van Zanten, J. Pharm. Biomed. Anal. 17 (1998) 1393

C. Ho, D. W. M. Sin, K. M. Wong, H. P. O. Tang, Anal. Chim. Acta 530 (2005) 23

N. W. Ali, M. Gamal, M. Abdelkawy, Pak. J. Pharm. Sci. 26 (1990) 865

E. Daeseleire, H. De Ruyck, R. Van Renterghem, Analyst 125 (2000) 1533

R. Lindberg, P. A. Jarnheimer, B. Olsen, M. Johansson, M. Tysklind, Chemosphere 57 (2004) 1479

W. Tian, L. Gao, Y. Zhao, W. Peng, Z. Chen, Anal. Methods 5 (2013)1283

M. A. La-Scalea, S. H. P. Serrano, I. G. R. Gutz, J. Braz. Chem. Soc. 10 (1999) 127

H. B. Ammar, M. Ben Brahim, R. Abdelhedi, Y. Samet, Mater. Sci. Eng. C 59 (2016) 604

H. B. Ammar, M. Ben Brahim, R. Abdelhédi, Y. Samet, Sep. Purif. Technol. 157 (2016) 9

B. Rezaei, S. Damiri, Electrochim. Acta 55 (2010) 1801

P. C. Mandal, J. Electroanal. Chem. 570 (2004) 55

R. Joseph, K. G. Kumar, Anal. Lett. 42 (2009) 2309

H. Zhai, Z. Liang, Z. Chen, H. Wang, Z. Liu, Z. Su, Q. Zhou, Electrochim. Acta  171 (2015) 105

S. Lu, K. Wu, X. Dang, S. Hu, Talanta 63 (2004) 653

A. Salimi, M. Izadi, R. Hallaj, M. Rashidi, Electroanalysis 19 (2007) 1668

I. Saidi, I. Soutrel, F. Fourcade, A. Amrane, N. Bellakhal, F. Geneste, Electrochim. Acta 191 (2016) 821

N. Xiao, J. Deng, J. Cheng, S. Ju, H. Zhao, J. Xie, D. Qian, J. He, Biosens. Bioelectron. 81 (2016) 54

H. Song, L. Zhang, F. Yu, B.-C. Ye, Y. Li, Electrochim. Acta 208 (2016) 10

S. A. Ozkan, Y. Ozkan, Z. Sentürk, J. Pharm. Biomed. Anal. 17 (1998) 299

Y. Gu, W. Liu, R. Chen, L. Zhang, Z. Zhang, Electroanalysis 25 (2013) 1209

B. Baś, Z. Kowalski, Electroanalysis 14 (2002) 1067

M. Grabarczyk, B. Baś, M. Korolczuk, Microchim. Acta 164 (2009) 465

R. Piech, B. Baś, W. W. Kubiak, B. Paczosa-Bator, Fuel 97 (2012) 876

R. Piech, Electroanalysis 21 (2009) 1842

M. Korolczuk, K. Tyszczuk, M. Grabarczyk, Electrochem. commun. 7 (2005) 1185

K. Tyszczuk, M. Korolczuk, M. Grabarczyk, Talanta 71 (2007) 2098

S. Smarzewska, S. Skrzypek, W. Ciesielski, Electroanalysis 24 (2012) 1591

S. Skrzypek, S. Smarzewska, W. Ciesielski, Electroanalysis 24  (2012) 1153

A. Bobrowski, A. Królicka, M. Putek, J. Zarȩbski, N. Čelebic, V. Guzsvány, Electrochim. Acta 107 (2013) 93–102

J. Smajdor, R. Piech, B. Paczosa-Bator, Electroanalysis 28 (2016) 394

J. Smajdor, R. Piech, M. Rumin, B. Paczosa-Bator, Z. Smajdor, J. Electrochem. Soc. 163 (2016) H605

J. Smajdor, R. Piech, M. Rumin, B. Paczosa-Bator, Electrochim. Acta 182 (2015) 67

R. Piech, B. Paczosa-Bator, Cent. Eur. J. Chem. 11 (2013) 736

J. Barek, J. Fischer, T. Navratil, K. Peckova, B. Yosypchuk, Sensors (Basel) 6 (2006) 445

I. Jiranek, K. Peckova, Z. Kralova, J. C. Moreira, J. Barek, Electrochim. Acta 54 (2009) 1939

B. Yosypchuk, J. Barek, Crit. Rev. Anal. Chem. 39 (2009)189

A. Danhel, J. Barek, Curr. Org. Chem. 15 (2011) 2957

A. Danhel, V. Mansfeldova, P. Janda, V. Vyskocil, J. Barek, Analyst 136 (2011) 3656

D. Deylova, B. Yosypchuk, V. Vyskocil, J. Barek, Electroanalysis 23 (2011) 1548

B. Yosypchuk, T. Navratil, A. N. Lukina, K. Peckova, J. Barek, Chem. Anal. (Warsaw, Pol.) 52 (2007) 897

V. Vyskocil, T. Navratil, A. Danhel, J. Dedik, Z. Krejcova, L. Skvorova, J. Tvrdikova, J. Barek, Electroanalysis 23 (2011) 129

P. Zuman, Z. Fijalek, J. Electroanal. Chem. 296 (1990) 583

A. El Jammal, J. C. Vire, G. J. Patriarche, O. Nieto Palmeiro, Electroanalysis 4 (1992) 57

Y. Gu, W. Liu, R. Chen, L. Zhang, Z. Zhang, Electroanalysis 25 (2013) 1209

A. Salimi, M. Izadi, R. Hallaj, M. Rashidic, Electroanalysis 19 (2007) 1668

G. O. El-Sayed, S. A. Yasin, A. A. El Badawy, Arab. J. Chem. 3 (2010) 167

A. M. O. Brett, S. H. P. Serrano, I. G. R. Gutz, M. A. La-Scalea, Electroanalysis 9 (1997) 1132

A. Hernandez-Jimenez, G. Roa-Morales, H. Reyes-Perez, P. Balderas-Hernandez, C. E. Barrera-Diaz, M. Bernabe-Pineda, Electroanalysis 28 (2016) 704

# Footnotes

* Corresponding authors. E-mail: rpiech@agh.edu.pl 
Tel.: +48 12 6172473; fax: +48 12 6341201;

https://doi.org/10.2298/ JSC160529052P

# Comments

Please define HMDE

Please define LOD

RSD or R.S.D.??? Please define

Please define HMDE

Please use decimal point, not comma!

x-axis. pH should not be in italic

added and Found are not physical quantities! Amount?

not physical quantity! Amount?

not physical quantities! Amount? Concentration?

not physical quantity! Amount?

Table III. is not mentioned in the text